## ANVA26-0195_MTO for Valves &
MTO FOR VALVE & FITTINGS
S/NO. | FLUID | VALVE TAG | QTY. | SIZE | VALVE DESCRIPTION | PRESSURE RATING | MATERIAL |  | TYPE | END CONNECTION | DIM. STD | OPERATION METHOD | AUTOMATION | REMARKS
[7 empty] | BODY | TRIM
FIRE BILGE SYSTEM
1 | BILGE WATER | FF5.8 & FF5.9 | 2 | DN50 | FIRE HYDRANT VALVE | PN16 | BODY: BRONZE OR EQUIVALENT STEM: BRASS OR EQUIVALENT | BRONZE OR EQUIVALENT | ANGLED | FLANGED | EN 1092 | HAND WHEEL | MANUAL | -
2 | BILGE WATER | FF1.4 | 1 | DN65 | BUTTERFLY VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT STEM: STAINLESS STEEL OR EQUIVALENT | AL-BR OR EQUIVALENT | WAFER | WAFER | ISO 5752 | HAND LEVEL | MANUAL
COMPRESSED AIR SYSTEM
3 | COMPRESSED AIR | CA2.8, CA2.9, CA2.11 | 3 | DN15 | BALL VALVE | PN16 | BODY: BRONZE OR EQUIVALENT STEM: STAINLESS STEEL OR EQUIVALENT | STAINLESS STEEL OR EQUIVALENT | TWO PIECE, FULL BORE | FLANGED | EN 1092 | HAND LEVER | MANUAL | -
4 | COMPRESSED AIR | CA11.1 TO CA11.2 | 2 | DN15 | BALL VALVE | PN16 | BODY: BRONZE OR EQUIVALENT STEM: STAINLESS STEEL OR EQUIVALENT | STAINLESS STEEL OR EQUIVALENT | TWO PIECE, FULL BORE | FLANGED | EN 1092 | HAND LEVER | MANUAL | -
5 | COMPRESSED AIR | CA7.1 | 1 | DN15 | PRESSURE REDUCTION VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT | STAINLESS STEEL OR EQUIVALENT | - | FLANGED | EN 1092 | - | - | PRESSURE REDUCING FROM 7 BAR TO 5 BAR
6 | COMPRESSED AIR | CA7.2 | 1 | DN15 | PRESSURE REDUCTION VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT | STAINLESS STEEL OR EQUIVALENT | - | FLANGED | EN 1092 | - | - | PRESSURE REDUCING FROM 5 BAR TO 2 BAR
7 | COMPRESSED AIR | CA8.1 | 1 | DN15 | PRESSURE SAFETY VALVE | PN16 | BODY: STEEL OR EQUIVALENT SPRING: STAINLESS STEEL OR EQUIVALENT | STAINLESS STEEL OR EQUIVALENT | CONVENTIONAL | FLANGED | EN 1092 | - | - | SET PRESSURE - 5.5 bar
8 | COMPRESSED AIR | CA8.2 | 1 | DN15 | PRESSURE SAFETY VALVE | PN16 | BODY: STEEL OR EQUIVALENT SPRING: STAINLESS STEEL OR EQUIVALENT | STAINLESS STEEL OR EQUIVALENT | CONVENTIONAL | FLANGED | EN 1092 | - | - | SET PRESSURE - 2.2 bar
9 | COMPRESSED AIR | CA1.11 | 1 | DN15 | BALL VALVE | PN16 | BODY: BRONZE OR EQUIVALENT STEM: STAINLESS STEEL OR EQUIVALENT | STAINLESS STEEL OR EQUIVALENT | TWO PIECE, FULL BORE | FLANGED | EN 1092 | HAND LEVER | MANUAL | -
GREY AND SEWAGE WATER SYSTEM
10 | BLACK WATER | BK6.1 | 1 | DN50 | BALL VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT STEM: BRASS OR EQUIVALENT | BALL: BRASS OR EQUIVALENT | TWO PIECE, FULL BORE | FLANGED | EN 1092 | HAND LEVER | MANUAL | -
11 | BLACK WATER | BK7.1 | 1 | DN40 | SCREW DOWN NON RETURN VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT STEM: BRASS OR EQUIVALENT | BRONZE OR EQUIVALENT | STRAIGHT SDNR | FLANGED | EN 1092 | HAND WHEEL | MANUAL | -
12 | BLACK WATER | GR6.1 | 1 | DN80 | BALL VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT STEM: BRASS OR EQUIVALENT | BALL: BRASS OR EQUIVALENT | TWO PIECE, FULL BORE | FLANGED | EN 1092 | HAND LEVER | MANUAL | -
13 | BLACK WATER | GR7.1 | 1 | DN80 | CHECK VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT | DISC: BRONZE OR EQUIVALENT | SWING CHECK | FLANGED | EN 1092 | - | - | -
MACHINERY COOLING SYSTEM
14 | SEA WATER | SW4.6 | 1 | DN80 | BUTTERFLY VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT STEM: STAINLESS STEEL OR EQUIVALENT | AL-BR ALLOY OR EQUIVALENT | WAFER | WAFER | EN 1092 | HAND LEVEL | MANUAL | -
15 | SEA WATER | SW10.2 TO SW10.6 | 6 | DN65 | BUTTERFLY VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT STEM: STAINLESS STEEL OR EQUIVALENT | AL-BR ALLOY OR EQUIVALENT | WAFER | WAFER | EN 1092 | HAND LEVEL | MANUAL | -
16 | SEA WATER | SW16.1 TO SW16.7 | 7 | DN100 | BUTTERFLY VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT STEM: STAINLESS STEEL OR EQUIVALENT | AL-BR ALLOY OR EQUIVALENT | WAFER | WAFER | EN 1092 | HAND LEVEL | MANUAL | -
17 | SEA WATER | SW18.1 & SW18.2 | 2 | DN100 | SCREW DOWN NON RETURN VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT STEM: BRASS OR EQUIVALENT | BRONZE OR EQUIVALENT | STRAIGHT SDNR | FLANGED | EN 1092 | HAND WHEEL | MANUAL | -
18 | SEA WATER | SW14.3 & SW14.4 | 2 | DN40 | BUTTERFLY VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT STEM: STAINLESS STEEL OR EQUIVALENT | AL-BR ALLOY OR EQUIVALENT | WAFER | WAFER | EN 1092 | HAND LEVEL | MANUAL | -
19 | SEA WATER | SW19.1 & SW19.2 | 2 | DN15 | SWING CHECK VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT STEM: BRASS OR EQUIVALENT | BRONZE OR EQUIVALENT | STRAIGHT SDNR | FLANGED | EN 1092 | HAND LEVEL | MANUAL
20 | SEA WATER | SW23.1 & SW23.2 | 2 | DN40 | SCREW DOWN NON RETURN VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT STEM: BRASS OR EQUIVALENT | BRONZE OR EQUIVALENT | STRAIGHT SDNR | FLANGED | EN 1092 | HAND WHEEL | MANUAL | -
DOMESTIC FRESH, HOT & SEAWATER SYSTEM
21 | FRESH WATER | FW12.1 | 1 | DN20 | CHECK VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT | DISC: BRONZE OR EQUIVALENT | LIFT CHECK | FLANGED | EN 1092 | - | - | -
22 | FRESH WATER | FW1.6 TO FW1.7 | 3 | DN25 | GLOBE VALVE | PN16 | BODY: BRONZE OR EQUIVALENT STEM: BRASS OR EQUIVALENT | BRONZE OR EQUIVALENT | STRAIGHT | FLANGED | EN 1092 | HAND WHEEL | MANUAL | -
23 | SEA WATER | SW8.1 | 1 | DN15 | GLOBE VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT STEM: BRONZE OR EQUIVALENT | BRONZE OR EQUIVALENT | STRAIGHT | FLANGED | EN 1092 | HAND WHEEL | MANUAL | -
24 | FRESH WATER | FW18.1, FW18.4, FW18.7 | 3 | DN32 | BALL VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT STEM: BRASS OR EQUIVALENT | BALL: BRASS OR EQUIVALENT | TWO PIECE, FULL BORE | FLANGED | EN 1092 | HAND LEVER | MANUAL | -
25 | FRESH WATER | FW18.2, FW18.3, FW18.5, FW18.6, FW18.8, FW18.9 | 6 | DN32 | BALL VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT STEM: BRASS OR EQUIVALENT | BALL: BRASS OR EQUIVALENT | TWO PIECE, FULL BORE | FLANGED | EN 1092 | HAND LEVER | MANUAL | PURPOSE HOT WATER WORKING TEMPERTURE MIN. 65 DEG C
26 | FRESH WATER | FW19.1 TO FW19.4 | 4 | DN20 | BALL VALVE | PN16 | BODY: CAST IRON OR EQUIVALENT STEM: BRASS OR EQUIVALENT | BALL: BRASS OR EQUIVALENT | TWO PIECE, FULL BORE | FLANGED | EN 1092 | HAND LEVER | MANUAL
27 | FRESH WATER | FW20.1 TO FW20.3 | 3 | DN20 | SOLENOID VALVE | PN16 | BODY: BRONZE OR EQUIVALENT STEM: BRASS OR EQUIVALENT | BRONZE OR EQUIVALENT | STRAIGHT | FLANGED | EN 1092 | HAND LEVER | ELECTRIC
AIR VENT AND SOUNDING SYSTEM
28 | AIR VENT | AV1.1A, AV1.2A, AV1.3A, AV1.4A | 4 | DN40 | VENT HOOD WITH WIRE MESH | PN10 | CARBON STEEL OR EQUIVALENT | - | SELF CLOSING VENT, AUTOMATIC BALL/DISC TYPE | FLANGED | EN 1092 | - | - | TYPE APPROVED
29 | AIR VENT | AV1.5A, AV1.6A | 2 | DN65 | VENT HOOD WITH WIRE MESH | PN10 | CARBON STEEL OR EQUIVALENT | - | SELF CLOSING VENT, AUTOMATIC BALL/DISC TYPE | FLANGED | EN 1092 | - | - | TYPE APPROVED
30 | AIR VENT | AV3.3 | 1 | DN125 | VENT HOOD WITH FLAME PROOF MESH | PN10 | CARBON STEEL OR EQUIVALENT | - | SELF CLOSING VENT, AUTOMATIC BALL/DISC TYPE | FLANGED | EN 1092 | - | - | TYPE APPROVED
31 | AIR VENT | AV3.6A & AV3.7A | 2 | DN65 | VENT HOOD WITH FLAME PROOF MESH | PN10 | CARBON STEEL OR EQUIVALENT | - | SELF CLOSING VENT, AUTOMATIC BALL/DISC TYPE | FLANGED | EN 1092 | - | - | TYPE APPROVED
32 | SOUNDING | SD3.7 & SD3.8 | 6 | DN40 | SELF CLOSING SOUNDING COCK | PN2.5 | GUNMETAL OR EQUIVALENT | - | WEIGHTED LEVER, SELF CLOSING | FLANGED | EN 1092 | - | - | CLASS APPROVED
SLUDGE & DIRTY OIL TRANSFER SYSTEM
33 | DIRTY OIL | SL17.1 | 1 | DN20 | SCREW DOWN NON RETURN VALVE | PN16 | BODY:CAST IRON OR EQUIVALENT STEM: STAINLESS STEEL OR EQUIVALENT | STAINLESS STEEL OR EQUIVALENT | STRAIGHT SDNR | FLANGED | EN 1092 | HAND WHEEL | MANUAL | -
MACHINERY EXHAUST SYSTEM
34 | EXHAUST GAS | EX3.1 TO EX3.2 & EX3.9 TO EX3.10 | 4 | DN250 | EXPANSION BELLOW | PN16 | EN 1.4462 OR EQUIVALENT | - | EXHAUST | LOOSE FLANGE | - | - | - | -
35 | EXHAUST GAS | EX3.3 TO EX3.4 | 2 | DN100 | EXPANSION BELLOW | PN16 | EN 1.4462 OR EQUIVALENT | - | EXHAUST | LOOSE FLANGE | - | - | - | OTHER TAG IS SIZE CHANGE TO DN150
36 | EXHAUST GAS | EX3.5 TO EX3.8 | 4 | DN150 | EXPANSION BELLOW | PN16 | EN 1.4462 OR EQUIVALENT | - | EXHAUST | LOOSE FLANGE | - | - | - | -
37 | EXHAUST GAS | EX6.1 & EX6.5 | 2 | DN150 | WATER INJECTION PIECE | - | STAINLESS STEEL OR EQUIVALENT | - | - | FLANGED | - | - | - | -
38 | EXHAUST GAS | EX6.1 & EX6.5 | 2 | DN150 | WATER INJECTION PIECE | - | STAINLESS STEEL OR EQUIVALENT | - | - | FLANGED | - | - | - | -
39 | EXHAUST GAS | EX6.2 TO EX6.4 | 1 | DN100 | WATER INJECTION PIECE | - | STAINLESS STEEL OR EQUIVALENT | - | - | FLANGED | - | - | - | -
LUBE OIL SYSTEM
40 | LUBE OIL | LO1.1 & LO1.2 | 2 | DN40 | BUTTERFLY VALVE | PN10 | BODY: CAST IRON OR EQUIVALENT STEM: STAINLESS STEEL OR EQUIVALENT | AL-BR ALLOY OR EQUIVALENT | WAFER | WAFER | EN 1092 | HAND LEVEL | MANUAL | -
41 | LUBE OIL | LO2.1 & L.O2.2 | 2 | DN15 | GATE VALVE | PN10 | BODY: CAST IRON OR EQUIVALENT STEM: BRASS OR EQUIVALENT | BRONZE OR EQUIVALENT | STRAIGHT | FLANGED | EN 1092 | HAND WHEEL | MANUAL | -
42 | LUBE OIL | LO3.1 & LO3.2 | 2 | DN15 | SELF CLOSING - GLOBE VALVE | PN10 | BODY:CAST IRON OR EQUIVALENT BALL: STAINLESS STEEL OR EQUIVALENT | STAINLESS STEEL OR EQUIVALENT | STRAIGHT | FLANGED | EN 1092 | HAND WHEEL | - | -
FRESH WATER TRIMMING & BALLAST SYSTEM
43 | FRESH WATER | FT1.13 | 1 | DN65 | BUTTERFLY VALVE | PN16 | BODY - STAINLESS STEEL OR EQUIVALENT STEM - STAINLESS STEEL OR EQUIVALENT | AL-BR ALLOY OR EQUIVALENT | WAFER | WAFER | EN 1092 | HAND LEVEL | MANUAL | -
44 | FRESH WATER | FT2.2 | 1 | DN65 | SCREW DOWN NON RETURN VALVE | PN16 | BODY:CAST IRON OR EQUIVALENT STEM: STAINLESS STEEL OR EQUIVALENT | STAINLESS STEEL OR EQUIVALENT | STRAIGHT SDNR | FLANGED | EN 1092 | HAND WHEEL | MANUAL
FRESH WATER SYSTEM
45 | FRESH WATER | FC7.1 | 1 | DN100 | FLOW METER | PN16 | STAINLESS STEEL OR EQUIVALENT | - | STRAIGHT | FLANGED | EN 1092 | - | - | -
46 | FRESH WATER | FC2.13 | 1 | DN100 | BUTTERFLY VALVE | PN16 | STAINLESS STEEL OR EQUIVALENT | STAINLESS STEEL OR EQUIVALENT | WAFER | WAFER | EN 1092-1 | HAND LEVEL | MANUAL | -
101